## dbo_limsdd_table
table_key | table_name | table_label | table_type | table_description
1993058136 | adod_data | AirDry OvenDry Data | single | Air-dry-Ovendry Data table is a raw data table. The data is used to calculate the moisture content of a prepared sample. The moisture content is used to adjust the results of analyses to an ovendry basis. The most common moisture content is the air-dry, less than 2 mm prepared sample weight to its ovendry weight (105 degrees) ratio. Others sample preparations also need the ratio determined. That data is also stored in the adod_data table.
2089058478 | agg_stab_data | Aggregate Stability Data | single | The Aggregate Stability Data table holds raw data. The aggregate stability procedure (4G1) is performed on natural fabric samples.
21575115 | analysis | Analysis | lookup | The Analysis table is a lookup table which holds the analysis name and status. The status indicates whether the analysis is presently being performed at the SSL. Additionally the analysis table holds the default preparations for the analysis and analysis costs and labor information. These data are used by the LIMS for sample preparation defaults and management evaluations.
101575400 | analysis_batch | Analysis Batch | data | The Analysis Batch table holds the status and common meta data about the batch (worklist). The meta data is used by the LIMS to assist in tracking which analyst has worked upon the batch and what procedure was used to analyze the batch. The status is used by the LIMS to track the batch and workflow.
181575685 | analysis_batch_instrument | Analysis Batch Instrument | lookup | The table contains data about instruments used in the analysis batch
245575913 | analysis_batch_sample | Analysis Batch Sample | data | The Analysis Batch Sample table links the analysis batch table to the prepared samples by the sample identifier and the position in the batch (batch ordinal position). Also the table hold the preparation actually used in the analysis, the disposition of the analysis (condition of the prepared sample) nad the status of the sample analysis (completed, rerun, abandoned, etc.).
325576198 | analysis_detail | Analysis Detail | data | The Analysis Detail table contains instructions, options, and choices for a given analysis. The instructions are typically for including or omitting operational steps in a procedure. For example, particle size analysis has the options of saving sands for mineralogy or including fine clay.
405576483 | analysis_preparation | Analysis Preparation | data | The Analysis Preparation table holds the preparation and prepared weight of samples. This table is used to get the prepared samples and its weight of a sample.
485576768 | analysis_suite | Analysis Suite | lookup | The Analysis Suite table holds the name of the analysis suite. A suite is a set of analyses that are routinely run by the SSL as a group. The analysis requests can set analyses on a layer basis by selecting the analysis suite.
549576996 | analysis_suite_analysis | Analysis Suite Analysis | lookup | The Analysis Suite Analysis table is the lookup table containing the analyses in the suite. These are the analyses that are routinely requested as a group.
613577224 | analyte | Analyte | lookup | The Analyte table is a lookup table which contains information about an analyte (primary result of an analysis by a procedure). The LIMS uses this data to format the data, provide abbreviations and units of measure for reporting the data.
709577566 | analytical_sample_disp | Analytical Sample Disposition | data | The Analytical Sample Disposition table holds information about the prepared samples. This information is about the location and condition of the prepared samples, Preparation sequence when multiple preparations are made.
642817352 | anion_resin_data | Anion Resin Extractable Phosphorus Data | single | The raw data for anion resin extractable phosphorus
789577851 | application_error | Application Error Log | log | A table containing information about LIMS errors
837578022 | area | Area | lookup | The table contains geographic area information
901578250 | atterberg_data | Atterberg Data | single | The raw data table for Atterberg liquid and plastic limits analyses performed at the NRCS National Soil Mechanics Laboratory
2117582594 | beta_glucosidase_data | Biology Beta Glucosidase Data | single | The raw data for biological p-nitrophenol determined by beta glucosidase
2117582595 | bio_hpom_data | Biology Hyper Particulate Organic Matter Data | single | The raw data for particulate organic matter using a hyper procedure
2702 | bio_pom_data | Biology Particulate Organic Matter Data | single | The raw data for particulate organic matter
2701 | bio_roots_data | Biology Root Data | single | The raw data for biological sample roots.
2117582583 | biomass_det_data | Biology Biomass Detail Data | detail | The raw data for biomass CO2-C data
2703 | biomass_mas_data | Biology Biomass Master Data | master | The raw data for biomass and master data table
1205579333 | box | Box | data | The Box table records the inventory of boxes used by the National Soil Survey Laboratory. Boxes are used to hold prepared samples. These boxes are stored in various location in the laboratory. The term box includes any container which hold samples, including trays.
1269579561 | bray1_extr_data | Bray1 Extractable Data | single | The Bray1 Extractable Data table contains the raw data for the Bray1 extractable phosphorus procedure.
1349579846 | bray2_extr_data | Bray2 Extractable Data | single | The raw data table for Bray 2 extractable phosphorus.
1429580131 | caco3_equiv_data | Calcium Carbonate Equivalent Data | single | The Calcium Carbonate Equivalent Data table holds the raw data for the calcium carbonate equivalent procedures. Both the less than 2mm and less than 20 mm data is stored.
1509580416 | calc | Calculation | lookup | The Calculation table records information about all calculations that are based on aggregated analytes and possibly other sub-calculations as well. A particular calculation in this table may represent an end result, a sub-calculation or possibly both. The result of a calculation described in this table either pertains to a layer or horizon, or to the pedon as a whole. In addition to recording attributes of calculations, this table actually stores the path to the script used to perform the calculation.
1589580701 | calc_analyte | Calc Analyte | lookup | The table contains information about the derived values and their calculation
1621580815 | calc_error | Calc Error | log | The table records the errors that occur in the calculation engine.
1669580986 | calc_queue | Calc Queue | data | The table contains information about the calculations scheduled and their status
1781581385 | calc_sub_calc | Calculation Sub-Calculation | lookup | The Calculation Sub-Calculation table records the immediate sub-calculations required for the corresponding parent calculation, if any are needed.
1845581613 | calibration_detail | Calibration Detail | detail | Calibration Detail
1925581898 | calibration_master | Calibration Master | master | Calibration Master
1989582126 | caso4_data | Gypsum Data | single | The Gypsum Data table holds raw data for the gypsum procedures. Both less than 2 mm and less than 20 mm data are stored.
2117582582 | change_log | Change Log | log | The table contains information about what and when changes occur in results
18099105 | check_sample_analysis | Check Sample Analysis | lookup | A table containing quality control check samples and the analyses associated with the samples
50099219 | citric_acid_p_data | Citric Acid P Data | single | The raw data table for the citric acid extractable phosphorus analysis. Note: Additional data fields may be needed such as the amount of citric acid used to neutralize the calcium carbonate in the sample.
146099561 | clod_db_data | Clod Bulk Density Data | single | The table contains the raw data about bulk density analysis
450100644 | clod_db_field_moist_data | Clod Bulk Density Field Moist Data | single | The table contains the raw data about moist bulk density analysis
642101328 | clod_db_rewet_data | Clod Bulk Density Rewet Data | single | The table contains raw data of the rewet bulk density analysis
2700 | co3_c_data | to be filled in | single | something to do with biology...
962102468 | core_comp_cav_data | Core and Compliant Cavity Data | single | The Core - Compliant Cavity Data table holds raw data for the core bulk density and compliant cavity bulk density procedures.
1122103038 | core_db_data | Core and Water Retention Data | single | The table contains raw data of the core bulk density or water retention analyses
1330103779 | data_tier | Data Tier | lookup | A table containing the data tiers
1378103950 | data_tier_column | Data Tier Column | lookup | A table containing information about the columns reported in a data tier
1458104235 | display_columns | Display Columns | lookup | The table contains information about how LIMS displays data grids within the application
1554104577 | display_table | Display | lookup | The table contains information about dat grids and their properties in the LIMS application
1666104976 | dsc_det_data | Differential Scanning Calorimetry Detail Data | detail | The Differential Scanning Calorimetry Detail Data table holds the raw data of the individual minerals in the procedure.
1762105318 | dsc_mas_data | Differential Scanning Calorimetry Master Data | master | The Differential Scanning Calorimtry Master Data table holds the raw data about the sample in the procedure.
1842105603 | dt_mcode | Date Tier Method Code | lookup | The table contains information about data tiers in the reports generated by LIMS
898818264 | ec_data | Electrical Conductivity Data | single | The raw data for 1:20 EC and Resistivity
1291867669 | effervescence_data | Effervescence Data | single | The Effervescence Data table table is a raw data table.
1890105774 | egme_rsa_det_data | Ethylene Glycol Monoethyl Ether Retention Surface Area Detail Data | detail | The EGME Detail Data table holds raw data about the individual weighings of the EGME procedure.
1970106059 | egme_rsa_mas_data | Ethylene Glycol Monoethyl Ether Retention Surface Area Master Data | master | The EGME Master Data table holds the general raw data for the EGME procedure.
2117582589 | equiv_gyp_cont_data | Equivalent Gypsum Content Data | single | Equivalent Gypsum Content Data table is a raw data table. The data is used to calculate the percent equivalent gypsum of a prepared sample. The prepared sample must be fine grind.
2066106401 | extr_acidity_data | Extractable Acidity Data | single | The Extractable Acidity Data table holds the raw data for the extractable acidity procedure.
46623209 | field_db_data | Field Bulk Density Data | single | The Field Bulk Density Data table holds the raw data for the field bulk density procedure. This is procedure is new.
2710 | glucose_c_data | Biology Glucose-C Data | single | The raw data for biological carbon determined by glucose content
158623608 | header | Header | lookup | A table containing the header for reports
206623779 | histosol_data | Histosol Data | single | The Histosol Data table holds the raw data for the fiber content and pyrophosphate color procedures.
318624178 | instrument | Instrument | lookup | The Instrument table is a lookup table holding information about the instruments used in the SSL. A record in this table corresponds to a specific piece of equipment set up in a specific manner. Therefore there may be more than one record for the same piece of equipment in this table.
366624349 | instrument_model | Instrument Model | lookup | The table contains the instrument and model of instrument
430624577 | instrument_model_set | Instrument Model Set | lookup | The table contains the instruments that compose a set of instruments used in an analysis
478624748 | instrument_set | Instrument Set | lookup | The table contains the names of instruments in a set of instruments
526624919 | instrument_set_proced | Instrument Set Procedure | lookup | The table contains the instrument set used in a procedure
590625147 | inventory | Inventory | lookup | The table contains the items of an inventory
622625261 | inventory_item | Inventory Item | lookup | The table contains a listing of the items defined for an inventory
654625375 | inventory_item_data | Inventory Item Data | lookup | The table contains information about the items
686625489 | inventory_item_type | Inventory Item Type | lookup | The table contains the kinds of items
718625603 | inventory_item_type_def | Inventory Item Type Def | lookup | The table contains information about the item type
766625774 | inventory_type | Inventory Type | lookup | The table contains the kinds of inventories
798625888 | kcl_extr_det_data | Potassium Chloride Extractable Detail Data | detail | The Potassium Chloride Extractable Detail Data table contains raw data about the analyte. The element_name identifes the cation that is measured.
910626287 | kcl_extr_mas_data | Potassium Chloride Extractable Master Data | master | The Potassium Chloride Extract Master Data table contains raw data about the worklist (batch) level. Also if the extractable acidity is measured, the titer data is stored in the master record.
1038626743 | kcl_extr_no3_data | Potassium Chloride Extractable Nitrate Data | single | The nitrate extracted by 1.0 M KCl raw data table. This is a new procedure different from the kcl_extr_mas_data.
2711 | kmno4_extr_c_data | Biology KMnO4-C Data | single | The raw data for biological carbon determined by KMnO4 extraction
1166627199 | laboratory | Laboratory | lookup | The Laboratory table is a lookup table with information about laboratories.
1230627427 | layer | Layer | data | The Layer table contains information about the layer, including the field identifier, horizon designation, reporting, and depths. Layer in the LIMS can be a true soil horizon or a reporting layer which does not correspond to the traditional soil horizon. The lay_rpt_seq_num sets the order of display for layer reports. The layer is the intended way analytical results are reported in the LIMS. New to the LIMS is the ability to allow stratified or vertically subdivided layers to be reported.
1390627997 | layer_analysis_request | Layer Analysis Request | data | The Layer Analysis Request table is used to track the analyses requested at the layer level. Because analyses are requested at the layer level, and the analyses are performed at the sample level; both analyses request levels must be tracked. Quality control may be specified in the layer analysis request. The type of QC inter- and intra-batch replication is supported.
1518628453 | layer_analysis_request_detail | Layer Analysis Request Detail | data | TheLayer Analysis Request Detail table contains the choices selected from the Analysis Detail table.
1582628681 | layer_analyte | Layer Analyte | data | The Layer Analyte table records the aggregated analyte values for a layer or soil horizon. The results are from the sample analyte table. Data values are reported out of this table.
1678629023 | layer_fraction | Layer Fraction | data | The table contains data about a layers different size-fractions
1758629308 | layer_horz_desgn_ls | Layer Horizon Designation Letter Suffix | data | The Layer Horizon Designation Letter Suffix table contains the layer's horizon designation suffix symbol. The symbols are defined in the Keys to Soil Taxonomy. The seqence_number allow for multiple designations.
1854629650 | layer_preparation_req | Layer Preparation Request | data | The Layer Preparation Request table holds the required sample preparations at the layer level. This table records any special layer preparation requests, such as a request to permanently store one or more preparations, or a request to ship one or more preparations somewhere. Multiple preparations of the same type can be made here. The default is one.
1950629992 | layer_texture | Layer Texture | data | The Layer Texture table holds the layer's field texture or in lieu of texture. The sequence_number is used for multiple layer textures.
2030630277 | layer_texture_mod | Layer Texture Modifier | data | The Layer Texture Modifier table holds the layer's texture modifier.
2110630562 | lims_ped_tax_hist | LIMS Pedon Taxonomic History | data | The LIMS Pedon Taxonomic History table contains the pedon classification history. Any changes to classifications will result in an archiving of the previous classification to this table.
27147142 | lims_pedon | LIMS Pedon | data | The LIMS Pedon table holds general information about the pedon. The pedon is associated with a site. The converse is not necessarily true.
155147598 | lims_site | LIMS Site | data | The LIMS Site table holds the site (location) information about the place where the samples or pedon originated.
363148339 | limsdd_domain_detail | LIMS Data Dictionary - Domain Detail | lookup | This data dictionary table records all members of all static domains in the LIMS system.
427148567 | limsdd_domain_master | LIMS Data Dictionary - Domain Master | lookup | This data dictionary table records domain level information for all static domains in the LIMS system.
555149023 | limsdd_table | LIMS Data Dictionary - Table | lookup | This data dictionary table records table level information for each table in the LIMS database.
619149251 | limsdd_table_column | LIMS Data Dictionary - Table Column | lookup | This data dictionary table records column level information for each column in the LIMS database.
763149764 | loi_min_content_data | Loss On Ignition Mineral Content Data | single | The Loss On Ignition Mineral Content Data table (8F1).
875150163 | master_preparation | Master Preparation | lookup | The table contains the SSL master preparations
962818492 | mea_det_data | Major Elemental Analysis Detail Data | detail | The Major Elemental Analysis Detail Data table contains the individual element's raw data. The element value is reported by the instrument's computer.
1090818948 | mea_mas_data | Major Elemental Analysis Master Data | master | The Major Elemental Analysis Master Data table contains the raw data about the sample used in the analysis.
2117582584 | meh3_extr_det_data | Mehlich 3 Extractable Detail Data | detail | The Mehlich 3 Extract Detail Data table contains the raw data for extractable cations. This is a child table of the master data table.
2117582585 | meh3_extr_mas_data | Mehlich 3 Extractable Master Data | master | The Mehlich 3 Extract Master Data table holds the worklist (batch) level raw data. This table has a child table, detail data table.
923150334 | mehlich3_extr_data | Mehlich 3 Extractable Data | single | Mehlich No. 3 multielement soil extractant raw data table.
1003150619 | melanic_index_data | Melanic Index Data | single | The Melanic Index Data table holds the raw data for the sample of the procedure. The melanic index is the ratio of absorbances which characterizes the humus properties of melanic and fulvic Andisols.
1115151018 | min_n_epa_data | Mineralizable Nitrogen EPA Data | single | The Mineralizable Nitrogen EPA Data table hold the raw data for the mineralizable nitrogen analysis for EPA.
1227151417 | mint_data | Mineralizable Nitrogen Data | single | The Mineralizable Nitrogen Data table hold the raw data for the mineralizable nitrogen analysis.
2117582600 | mir_scan_det_data | MIR scan Detail Data | detail | The MIR scan Detail Data table contains the scan file name and conditions at a given time.
2117582601 | mir_scan_mas_data | MIR scan Master Data | master | The MIR scan Master Data table contains the raw data about the sample used in the analysis.
1323151759 | nacd_extr_det_data | Sodium Citrate - Dithionite Extractable Detail Data | detail | The Sodium Citrate Dithionite Extract Detail Data table contains the raw data for extractable cations. This is a child table of the master data table.
1451152215 | nacd_extr_mas_data | Sodium Citrate - Dithionite Extractable Master Data | master | The Sodium Citrate Dithionite Extract Master Data table holds the worklist (batch) level raw data. This table has a child table, detail data table.
1531152500 | napyro_extr_det_data | Sodium Pyrophosphate Extractable Detail Data | detail | The Sodium Pyrophosphate Extract Detail Data table holds the raw data for the extractable cations. This is the child table of the master data table.
1659152956 | napyro_extr_mas_data | Sodium Pyrophosphate Extractable Master Data | master | The Sodium Pyrophosphate Extract Master Data table holds the raw data at the worklist (batch) level. This data includes the organic carbon data. This table has a detail data child table where cation data is stored.
1787153412 | ncs_data | N, C, S Data | single | The raw data table for total nitrogen, carbon, sulfur.
1851153640 | newzealand_p_ret_data | New Zealand Phosphorus Retention Data | single | The New Zealand Phosphorus Retention Data table holds the raw data for this procedure.
1947153982 | nh4cl_cec_det_data | Ammonium Chloride CEC Detail Data | detail | The NH4Cl Cation Detail Data table holds the raw data for each analyte measurement. The element_name column specifies the cation that the extr_cation_quant refers.
2075154438 | nh4cl_cec_mas_data | Ammonium Chloride CEC Master Data | master | The NH4Cl CEC Master Data Table holds the raw data for the neutral salts CEC procedure (5A9c).
87671360 | nh4oac_cec_det_data | Ammonium Acetate CEC Detail Data | detail | The NH4OAc Cation Detail Data table holds the raw data for each analyte measurement. The element_name column specifies the cation that the extr_cation_quant refers.
215671816 | nh4oac_cec_mas_data | Ammonium Acetate CEC Master Data | master | The NH4OAc CEC Data table holds the raw data for the ammonium acetate cation exchange capacity procedure (5A8c). The data also is used in the extractable cations procedure, which is a child analysis of the CEC analysis.
375672386 | nh4oxal_extr_det_data | Ammonium Oxalate Extractable Detail Data | detail | The Ammonium Oxalate Extract Detail Data table holds the raw data for the individual analyte determinations of the procedure. This table is a child table of the master data table.
487672785 | nh4oxal_extr_mas_data | Ammonium Oxalate Extractable Master Data | master | The Ammonium Oxalate Extract Master Data table holds the general raw data of the sample for the procedure. Individual cations data is stored in the detail data table, which is a child table of the master data table.
599673184 | note | Note | data | The table contains notes and note information
695673526 | olsen_p_data | Olsen P Data | single | The Olsen extract phosphorus data table holds the raw data.
775673811 | opt_count_det_data | Optical Count Detail Data | detail | The Optical Count Detail Data table holds the raw data for the individual mineral counts for the optical count type. The detail data table is a child table of the master data table.
839674039 | opt_count_mas_data | Optical Count Master Data | master | The Optical Count Master Data table holds the raw data for the sample. The table hold what type of optical count, the size fraction and replicate number. Individual counts are held in the detail data table, which is a child table of the master data table.
903674267 | organization | Organization | lookup | The table contains a list of organizations
2117582588 | pd_data | Particle Density Data | single | Particle Density Data table is a raw data table. The data is used to calculate the particle density of a prepared sample. The prepared sample may be <2 mm or >2 mm.
967674495 | period | Period | lookup | The table contains information about dates
1031674723 | person | Person | lookup | The table contains a listing of people and related data about the people
1127675065 | ph_det_data | pH Detail Data | detail | The child table of the pH master table. This table holds the individual pH measurement and kind of pH measured.
1207675350 | ph_mas_data | pH Master Data | master | The pH Master Data table holds the batch information about the ph analysis.
2117582591 | phox_det_data | pH by Oxidation Detail Data | detail | The detail raw data for pH by oxidation holds observed pH over time
1186819290 | phox_mas_data | pH by Oxidation Master Data | master | The master raw data for pH by oxidation holds final results for the analysis
1271675578 | preparation | Preparation | data | The Preparation table holds the information about the type of preparation, size of the orginal and final fractions prepared, default container type and preparation sort order.
1367675920 | preparation_wt_data | Preparation Master Data | single | The Preparation Master Data table holds the effevescence and sample identifier of the sample being prepared. Individual weights are recorded in the detail data table, which is a child table of the master data table.
1415676091 | procedure | Procedure | lookup | The Procedure table is a lookup table which contains information about the procedure. The procedure is the basic analytical method applied to a prepared sample. This procedure may be applied to different sample preparations, but the default size-fraction is the most commonly used size-fraction. An analysis may have more than one procedure, one of which is chosen by the analyst to complete the analysis.
1511676433 | procedure_analyte | Procedure Analyte | lookup | The Procedure Analyte table holds the information about how to calculate the analyte from its raw data. The path to the calculation script is stored here, however the actual calculation instructions are in a text file stored outside the LIMS proper. The adod dependency of the analyte calculation is also flagged in the table. This is used for recalculation of the analyte when the adod changes.
1575676661 | procedure_detail | Procedure Detail | detail | The table contains a listing of processes used in a procedure to track who performs the work
1623676832 | procedure_detail_history | Procedure Detail History | log | The table contains a log of who, what,when and procedure detail is performed
1671677003 | procedure_detail_procedure | Procedure Detail Procedure | data | The table contains the procedure details associated with a procedure
1735677231 | project | Project | data | The Project table contains information about the SSL project. The project is a high level table in the LIMS. Most work is performed on a project basis in the LIMS and the data produced reported on a project level basis. Data collected is used to track the project to completion and reporting. The LIMS uses the information to direct the analytical data to the project coordinator and submitter.
1927677915 | project_contact | Project Contact | data | The table contains a listing of who is the main contact person for an SSL project
1975678086 | project_sequence | Project Sequence | log | The talbe contains a listing of sequence a project is assigned in the fiscal year
1991678143 | psda_data | Particle Size Distribution Analysis Data | single | The Particle Size Distribution Analysis Data table holds the raw data collected on the worklist (batch). Some of the data elements are not recorded in the first version of the LIMS. They are expected to be implemented in future versions of the LIMS.
2117582596 | psdah_det_data | Particle Size Distribution Analysis Hydrometer Detail Data | detail | The Particle Size Distribution Analysis Hydrometer Detail Data table contains the hydrometer readings at a given time.
2117582597 | psdah_mas_data | Particle Size Distribution Analysis Hydrometer Master Data | master | The Particle Size Distribution Analysis Hydrometer Master Data table contains the raw data about the sample used in the analysis.
276196034 | reagent_batch | Reagent Batch | lookup | The Reagent Batch table is a lookup table where information about the reagents used is stored. Various analytes need reagent information in order for calculations to be completed. When a batch (lot) of reagent is prepared, the relevant data is stored in the reagent batch table.
388196433 | report | Report | lookup | A table listing the reports within LIMS
452196661 | report_body | Report Body | lookup | A table containing information about the reporting of data within the data tiers
532196946 | report_list | Report List | lookup | The table contains information about the LIMS reports
596197174 | result | Result | data | The table contains the values of the derived data
660197402 | salt_predict_data | Salt Predict Data | single | The raw data table for the salt predict analysis (8I). The data are used to determine if analyses for soluble salts is warranted.
724197630 | sample | Sample | data | The Sample table holds the data about the sample received in the SSL. The data is primarily that which is collected during sample login (receiving). The APHIS regulation status of the sample is also in the table. Quality control samples are introduced by sample login in a special process. These samples have default identifiers. Regular samples in the LIMS have identifiers starting with 10,000. Identifiers lower than 10,000 have special meanings in the LIMS.
836198029 | sample_analyte | Sample Analyte | data | The Sample Analyte table is where the measured (calculated) value of the analyte is stored. Other meta data about the analyte is also stored. The results of analysis are calculated, valid or invalid. The status indicates whether the result is suitable for further processing by the LIMS. The sample analyte results are rolled up to the layer analyte table when validation is completed. Reports do not use the sample analyte table. The reports use higher level tables for reportable data.
916198314 | sat_paste_det_data | Saturated Paste Detail Data | detail | The Saturated Paste Detail Data table holds the raw data for each analayte measured in the saturation extract. The saturation extract is derived from the saturated paste. This table is a child table of the master data table.
1044198770 | sat_paste_mas_data | Saturated Paste Master Data | master | The Saturated Paste Data table holds the raw data for the saturation percentage, electrical conductivity, resistivity and pH of the saturated paste. The saturation extract derived from the saturated paste is analyzed for more analytes. The raw data for these analytes are stored in other raw data tables.
1348199853 | site_area_overlap | Site Area Overlap | lookup | The table contains the area associated with sites
1412200081 | ssl_user | SSL User | lookup | The table contains information about the SSL LIMS users
1460200252 | ssl_user_role | SSL User Role | lookup | The table contains the roles of different kinds of users of LIMS
1524200480 | status_history | Status History | log | The table contains a historical log of the changes of statuses within LIMS
1588200708 | study | Study | data | The Study table is the highest level table in the LIMS. The study is a group of projects. This is a new feature to allow groupings of projects which are related to each other is some way. Studies were implemented to allow more flexible reporting of data. Full implementation of studies will be completed in later releases of the SSL LIMS.
1684201050 | study_detail | Study Detail | lookup | A table containing information about a study
2117582590 | surfarean2_data | Surface Area N2 Data | single | The raw data table for surface area measured by N2 adsorption.
1764201335 | tare_detail | Tare Detail | detail | The table contains tare values
1796201449 | tare_master | Tare Master | master | The table contains the information about the tares and kind of tares used in LIMS
1828201563 | taxon_family_detail | Taxon Family Detail | detail | The table contains the taxonomic family data of pedons
1282819632 | tea_det_data | Total Elemental Analysis Detail Data | detail | The Total Elemental Analysis Detail Data table contains the individual element's raw data. The element value is reported by the instrument's computer.
1972202076 | tea_mas_data | Total Elemental Analysis Master Data | master | The Total Elemental Analysis Master Data table contains the raw data about the sample used in the analysis. Several different analyses can use this table. One set is the carbon, nitrogen, sulfur. These are analyzed by total combustion. The other elements are chemically digested and analyzed by ICP.
2068202418 | tga_det_data | Thermal Gravimetric Analysis Detail Data | detail | The Thermal Gravimetric Analysis Detail Data table contains the raw data for the individual mineral in the procedure.
16719112 | tga_mas_data | Thermal Gravimetric Analysis Master Data | master | The Thermal Gravimetric Analysis Master Data table holds raw data about the sample in the procedure.
112719454 | thermal_standard | Thermal Standard | lookup | The Thermal Standard table is a lookup table holding information about the thermal standards.
256719967 | thin_section_det_data | Thin Section Detail Data | detail | The Thin Section Detail Data table holds the raw data for the individual features of the procedure. Depending on the microfabric_type, certain fields are recorded for each feature observed.
304720138 | thin_section_mas_data | Thin Section Master Data | master | The Thin Section Master Data table holds raw data about the sample for the micromorphology procedure. The thin section orientation and magnifications are recorded here. The individual features are recorded in the detail data records.
400720480 | transfer_project_log | Transfer Project Log | data | The table contains the dates of the first transfer and last transfer of project data and information
2117582598 | vnir_scan_det_data | VNIR scan Detail Data | detail | The VNIR scan Detail Data table contains the scan file name and conditions at a given time.
2117582599 | vnir_scan_mas_data | VNIR scan Master Data | master | The VNIR scan Master Data table contains the raw data about the sample used in the analysis.
2117582586 | water_extr_det_data | Water Extract Detail Data | detail | The Water Extract Detail Data table contains the raw data for extractable cations and anions. This is a child table of the master data table.
2117582587 | water_extr_mas_data | Water Extract Master Data | master | The Water Extract Master Data table holds the worklist (batch) level raw data. This table has a child table, detail data table.
464720708 | water_retention_data | Water Retention Data | single | The Water Retention Data table holds the raw data about the sample and measured values for the water retention. Many points of water retention may be measured by the SSL. water_ret_type choice list identifies the pressure points the lab measures.
576721107 | water_soluble_p_data | Water Soluble Phosphate Data | single | The Water Soluble Phosphate Data table holds the raw data for the procedure (6S7a).
656721392 | xray_diff_det_data | X-Ray Diffraction Detail Data | detail | The X-ray Diffraction Detail Data table holds the raw data for the each mineral in the sample. Values are primarily from the "DI" file of the instrument. peak_ht_code is the interpreted value. The detail table is a child table of the master data table. The master detail records hold more general data about the sample.
704721563 | xray_diff_mas_data | X-Ray Diffraction Master Data | master | The X-ray Diffraction Master Data table holds the raw data for the sample of the procedure (rep_num and size_fract). The master data table has a child table (detail data) which holds record about individual raw data parameters.
2117582592 | xray_pm_det_data | X-Ray Diffraction PM Detail Data | detail | The X-ray Diffraction PM Detail Data table holds the raw data for the each mineral in the sample. Values are primarily from the "DI" file of the instrument. peak_ht_code is the interpreted value. The detail table is a child table of the master data table.
2117582593 | xray_pm_mas_data | X-Ray Diffraction PM Master Data | master | The X-ray Diffraction PM Master Data table holds the raw data for the sample of the procedure (rep_num and size_fract). The master data table has a child table (detail data) which holds record about individual raw data parameters.